|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| EUFOR LOGO FINAL 11 | | | **PROCUREMENT AND CONTRACTING OFFICE**  HQ EUFOR, J8  BUTMIR Camp Sarajevo  Bldg. 225, 71210 Ilidza, BH  Fax: Civil +387-33-495707  e-mail: [taco@eufor.europa.eu](mailto:taco@eufor.europa.eu) | EUFOR LOGO FINAL 11 | | |
|  |  | | |  |

**CLARIFICATION 1**

**Invitation to bid for Supply and delivery of engineering material to HQ EUFOR Camp Butmir Sarajevo, BiH**

Publication reference: HQ EUFOR/ENGINEERING MATERIAL/2023-SU/005

- In accordance with Article 2. and Article 12. of Instruction to bidders, requests for clarification are to be received by the 31 March 2023, 16:00 hr. and clarification to be issued by the Contracting Authority by 07 April 2023. The following clarification question have been received, followed by the Contracting Authority’s answers:

1. **Questions and Answers:**

|  |  |  |  |
| --- | --- | --- | --- |
| **LOT 1- CON.MAT.** | ***ITEM DECRIPTION*** | **QUESTION** | **ANSWER** |
| ***Item no*** |  |  |  |
| 31 | DOWN PIPE 80MM | What is down pipe? What is the purpose of this pipe? Guttering or something else? From which kind of material is made? | Down pipe is pipe that goes from gutter to the ground. Material is same as guttering. Vertical down pipe. |
| 4 | GLUE FOR LINOLEUM SHONOX | We don’t have this brand. We have Tarkett. Can we offer this producer (have packing 22 kg )? | Of course you can. |
| 6 | VINYL FLOORING, 3.0 MM | Delivery need to be in plate or in roll. | In roll. |
| 8 | PANIC LOCK, HANDLE LATCH | Please suggest producer and model. | CISA MOD. 59011.10.0.00; CISA MOD. 07007.14.0.00.00 or equivalent |
| 9 | HANDLE FOR DOOR C/W SHIELD YALE TYP | Please send link of producer. | Slika Kvaka štit EVROPA braon-cilindar (73.275) |
| 11 | CORD FOR SHUTTER W/MECHANISM | Please link or photo. | Automat za rolete klasični vanjski |
| 13 | METAL STRIP 2.7M, SELF ADHESIVE | For what it use? Do you need aluminum strip. | Yes we need al. strips self adhesive, gray colour |
| 15 | GLUE UNIVERSAL 850ML (ljepilo univerzalno) | We have NEOSSTIC 800ml, can we offer them? | Yes you can. |
| 16 | PAINT ROLLER, COMPLETE 10 CM NIVETA | Material need be aluminum or some else. Have to be NIVETA | Yes, need to be NIVETA, for paint walls and wood |
| 18 | PRIMER FOR METAL GRAY, 0.75LCN | Basic or bold color? Nitro or synthetics | Grey color, oil based. |
| 22 | PAINT, UNIVERSAL WHITE (0.75L CAN) | Nitro or synthetics | Oil based. |
| 1 | PLYWOOD 2500 X 1250 X 20 MM | SH ---- UNIT OF MEASURE- WHAT IS THIS? | SH is sheet, that is the only measure that you can deliver plywood except square meters, 244 x 122 cm |
| 2 | PLYWOOD 18/MM WATERPROOF | SH ---- UNIT OF MEASURE- WHAT IS THIS? | SH is sheet, that is the only measure that you can deliver plywood except square meters |
| 20 | METAL SHEET 1800X1250 MM, WHITE | Thickness? Dimension of table? | Thickness 0,6mm, dimension 1800x1250mm |
| **LOT 2 - ELECTRICAL MATERIAL** | ***ITEM DECRIPTION*** | **QUESTION** | **ANSWER** |
| ***Item no.*** |  |  |  |
|  | SOCKET CONNECTOR 32A FREE | Broj polova? Pol no. | 5 |
|  | SOCKET FIXED 32A | Broj polova? Pol no. | 5 |
|  | PLUG FREE 32A | Broj polova? Pol no. | 5 |
|  | PLUG, FIXED,32A | Broj polova? Pol no. | 5 |
|  | LIGHT FITTING 1 X 36 W | Vodotijesna svjetiljka, raster ili obični nosač? | ip 65, (obicni nosac) ordinary |
|  | FAN M100/4" A PIR LL SENSOR | Pojašnjenje specifikacija te koji senzor? Clarification, which sensor? | Ventilator 100 mm, za ugradnju u zid sa senzorom pokreta (wall mounted with movement sensor) |
|  | CABLE TRAY, PVC, SCAME, 30 X 15 mm | Da li kanalica mora biti SCAME te da li može dimenzija 25x16mm?  Does it have to SCAME, can you accept dimension 25x16 mm? | It has to be 30 X 15 mm |
| 41 | UNION GAL 1/2'-1/2' SAE CASTLE | What is this ? | HOLENDER MATICA 1/2"-1/2 SAE CASTEL |
| 42 | UNION GAL 3/8-3/8 SAE CASTEL | What is this ? | HOLENDER MATICA 3/8"-3/8 SAE CASTEL |
| 43 | UNION GAL 6MM-1/4" SAE CASTLE | What is this ? | HOLENDER MATICA 6mm - 1/4 SAE CASTEL |
| **LOT 3 - PLUMBING MATERIAL** | ***ITEM DECRIPTION*** | **QUESTION** | **ANSWER** |
| ***Item no.*** |  |  |  |
| 18 | FLEXI PIPE FOR TOILET BOWL | Photography of product and dimensions? | [Odvod za WC šolju flexi baltik | Diplon Kupatila](https://www.diplon.net/sifoni/21812-odvod-za-wc-solju-flexi-baltik) |
| 27 | LOCK WASHER 12 mm | Field of application | Feder sajba 12 mm |
| 48 | SHOWER BASE PLASTIC 80 X 80 cm | Do you need a bathtub with or without lining? | With lining |
| 49 | SHOWER DIVIDE PLAST. W/U PROF | Type and dimension, photography on technical data sheet? | Pleksiglas 180 x 80 cm, sa lajsnama za montazu  Plexiglas 180X80 cm with skirting boards for installation |

**Question 2**

Could you please clarify the following measurement units?

SH…….

CN…….

PR…….

TB……

SM….

**Answer 2**

SH……. = sheet

CN……. = can, bucket

PR……. = pair, couple

TB……. = tube

SM…… = square meter m2

**Question 3**

Could you please provide us with the explanation for the following items:

1. What is CORD FOR SHUTTER W/MECHANISM used for precisely?

2. HANDLE FOR DOOR C/W SHIELD YALE TYP - are these black door handles with locks?

**Answer 3**

Please see table above, LOT 1 - items with pictures.

**Question 4**

*Kindly asking you for following items clarification:*

Lot 1:

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| 25 | 6056a | RUST CONVERTER  1L BOTTLE | 8 | L |

Lot 3:

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| 23 | 8646X\_SF | HEAT TRACE CABLE 20W | 100 | Meter |
| 61 | 8319A\_SF | TAP, BALL 1/2" | 15 | Each |
| 65 | 8646Y\_SF | THERMOSTAT UTR60-PRO | 6 | Each |

**Answer 4**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Lot 1: |  |  |  |  |  |
| 25 | 6056a | RUST CONVERTER 1L BOTTLE | L | 8 | Pretvarac hrdje, primjer: WURTH rust converter or equivalent |
|  |  |  |  |  |  |
| Lot 3: |  |  |  |  |  |
| 23 | 8646X\_SF | HEAT TRACE CABLE 20W | 100 | Meter | Grijni kabal za krovove, cijevi I oluke, 20 W  Heat cable for roofs, pipes and gutters 20W |
| 61 | 8319A\_SF | TAP, BALL 1/2" | 15 | Each | Slavina, kuglicna, 1/2" |
| 65 | 8646Y\_SF | THERMOSTAT UTR60-PRO | 6 | Each | Termostat za grijni kabal  Thermostat for heat cable |

Procurement and Contracting Office

J8, HQ EUFOR

07 April 2023

This clarification is being sent simultaneously to all bidders and published on following website: [www.euforbih.org/tenders](http://www.euforbih.org/tenders) where bidding dossier is published. No further clarifications may be required nor provided as specified by clause 12 of the instructions to Bidder.