|  | ### PROCUREMENT AND CONTRACTING OFFICE HQ EUFOR, J8 BUTMIR Camp Sarajevo Bldg. 225, 71210 Ilidza, BiH Fax: +387 33 495 707 e-mail: taco@eufor.europa.eu |  |
| --- | --- | --- |

CLARIFICATION I

SUPPLY, DELIVERY AND INSTALLATION OF LINOLEUM IN ACCOMMODATION BUILDINGS AT BUTMIR CAMP SARAJEVO, BOSNIA AND HERZEGOVINA

Publication reference: HQ EUFOR/LINOLEUM REPLACEMENT/2026-SU/008

- In accordance with Article 2. and Article 12. of Instruction to bidders, requests for clarification are to be received by the 22 April 2026 and clarification to be issued by the Contracting Authority by 30 April 2026. The following clarification question has been received, followed by the Contracting Authority’s answer:

Question 1.

The specifications request linoleum with a thickness of 4.0 mm. We kindly ask whether an alternative linoleum with a thickness of 3.4 mm would be acceptable. The proposed 3.4 mm linoleum meets the same technical specifications and performance requirements, while offering improved floor surface alignment and a lower overall cost.

Answer 1.

The offered product should meet ALL the listed classifications, technical characteristics and performance requirements (thermal, sound, slipping…….) in accordance with Annex II – Terms of reference. From previous experience, offered 3.4 mm thick linoleum with an additional underlay (cork or similar) meets the required specifications and would be acceptable.

Question 2.

During the site visit it was noted that the floor is made out of floorboard material with notable vertical bending (“spring” effect) when one or more persons walk on the surface, especially in the middle part. Can you please give us a description of floor ground material for subjected 2300 m2 and potential replacement or repair of floorboard material before linoleum installation.

Answer 2.

In our buildings, there are two types of ground foundations:

- The ground floor has a 4 cm thick concrete lining with a PVC foil and a layer of thermal insulation mass 5 cm below and leveling mass over the lining.

- The first floor has a layer of waterproof plywood with a thickness of 20 or 22 mm on a wooden substructure.

Question 3.

For proper installation of the linoleum in the hallway and rooms, can please confirm whether removal of the existing wooden thresholds and metal door frames is planned to ensure continuous flooring connection. Also, who will be responsible for performing this removal.

Answer 3.

In coordination with the successful Bidder/Contractor, the wooden threshold for the linoleum work will be removed by EUFOR and will be re-installed after the contractor has installed and sealed the linoleum edges.

Question 4.

In the event that, following the removal of the existing floor covering, damage is identified on more than 10% of the total surface area (i.e. exceeding 230 m²), can you please clarify if you intend to compensate additional repairs with other planned works listed in specifications?

Answer 4.

In accordance with Annex II (Terms of reference) and Annex III (financial offer), changes to the stated quantities are possible as long as they are within the contracted price and agreed upon prior to the execution of each phase of the works.

Question 5.

Considering that the specifications for floor corner strips and sealing floor strips (Type A and Type B) are similar to U.S. standards, which are difficult to source on the local or European market, can you clarify whether equivalent alternative products would be acceptable if proposed. If so, can you kindly specify the acceptable tolerances in dimensions.

Answer 5.

Equivalent products of the same type and quality are acceptable. A full technical specification of the equivalent product, as well as a sample, must be provided.

Procurement and Contracting Office

J8, HQ EUFOR

30 April 2026

This clarification is being sent simultaneously to all bidders and published on following website: www.euforbih.org/tenders where bidding dossier is published. No further clarifications may be required nor provided as specified by clause 12 of the instructions to Bidder.